## ALL
Category | Brand | Item | Description | MSRP | MAP | TotAv | OH | PA | NV | GA | NY | AZ | TX | PA-Cabot | UPC_Code | UPS | Wt | Image_URL | Spec | CA_Prop65_Img | Country of Origin | Category 1 | Category 2 | Color | Accessories | Truck Points | Feature 1 | Feature 2 | Feature 3 | Feature 4 | Feature 5 | Shipping Dims | Long Description
Power Conditioner | SurgeX | PF-420 | Branch Circuit Surge Eliminator and Power Conditioner / Load Center |  | 3519 | [9 empty] | 858253005040 | Y | 30 | https://assetserver.net/_assets/surgex/1000/pf420.jpg | https://assetserver.net/_assets/surgex/pdf/pf420-spec.pdf | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX | Power | Power Conditioner |  |  | 0 | Magnetic shielding steel enclosure | Advanced Series Mode surge protection | Advanced Impedance Tolerant EMI/RFI filtering | Self-test circuit with visual indicator |  | 21.000 x 15.000 x 6.500 | The SurgeX Powerframe 420 provides surge protection and power conditioning for audio, video, broadcast, and computer equipment. The Powerframe 420 unit is a compact 80A load center for multi-branch circuit applications. It offers 4 independent 20A circuits in a 16 x 12 x 4" magnetic shielding NEMA enclosure and meets code for use at the service entrance, sub-panels, and in-ceiling plenums. The unit features both common mode and normal mode Impedance Tolerant EMI/RFI filtering for a comprehensive power conditioning solution. The SurgeX Advanced Series Mode technology is completely non-sacrificial. The zero let-through technology provides the most reliable protection available. It stops all surges up to 6,000V (unlimited surge current) without producing harmful side effects such as ground contamination or common-mode disturbances.
Power Conditioner | SurgeX | SA-15 | Standalone Surge Eliminator and Power Conditioner |  | 699 | [9 empty] | 859971002533 | Y | 8.5 | https://assetserver.net/_assets/surgex/1000/sa15.jpg | https://assetserver.net/_assets/surgex/pdf/sa15-spec.pdf | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | US | Power | Power Conditioner |  |  | 0 | Compact design | Non-sacrificial components | 2 and 10 receptacle configurations | 9' grounded 3-wire cord | Magnetic shielding steel enclosure | 14.000 x 6.500 x 8.000 | The SurgeX Standalone power surge protector and conditioner devices safeguard mission-critical equipment in environments outside of a rack. Their compact design easily fits along, behind, or near equipment, takes up minimal space, and are perfect for AV, surveillance, and monitoring systems.
Power Conditioner | SurgeX | SA-1810 | Standalone Surge Eliminator and Power Conditioner |  | 769 | [9 empty] | 859971002564 | Y | 8.5 | https://assetserver.net/_assets/surgex/1000/sa1810.jpg | https://assetserver.net/_assets/surgex/pdf/sa1810-spec.pdf | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | US | Power | Power Conditioner |  |  | 0 | Protects audio video based equipment outside of a rack | Improves audio and video performance | Advanced Series Mode ® surge elimination technology | Impedance Tolerant EMI/RFI filter | 100% fail-safe protection, never requires reset | 14.000 x 6.500 x 8.000 | The SurgeX SA-1810 is engineered to safeguard independent audio and video equipment in any environment. This compact surge protection solution fits alongside standalone equipment, takes up minimal space, and is perfect for AV, security, and computer systems that are installed outside of a rack. Featuring Advanced Series Mode surge elimination technology, the SurgeX Standalone product line provides premium protection for sensitive equipment that relies on audio and video performance. Its patented power protection technology is non-sacrificial and eliminates surge energy up to 6,000 Volts, without producing harmful side effects such as ground contamination or common mode disturbances that can degrade the performance of AV systems.
Power Conditioner | SurgeX | SA-20 | Standalone Surge Eliminator and Power Conditioner |  | 719 | 1 | 1 | [7 empty] | 859971002540 | Y | 8.5 | https://assetserver.net/_assets/surgex/1000/sa20.jpg |  | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | US | Power | Power Conditioner |  |  | 0 | Compact design | Improves audio and video performance | 2 and 10 receptacle configurations | 9' grounded 3-wire cord | Magnetic shielding steel enclosure | 14.000 x 6.500 x 8.000 | The SurgeX Standalone power surge protector and conditioner devices safeguard mission-critical equipment in environments outside of a rack. Their compact design easily fits along, behind, or near equipment, takes up minimal space, and are perfect for AV, surveillance, and monitoring systems.
Power Conditioner | SurgeX | SA-20-AR | Standalone IP Connected Surge Eliminator and Power Conditioner, Includes AR Software |  | 1379 | [9 empty] | 859971002441 | Y | 10 | https://assetserver.net/_assets/surgex/1000/sa20ar.jpg | https://assetserver.net/_assets/surgex/pdf/sa20ar-spec.pdf | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX | Power | Power Conditioner |  |  | 0 | Compact design | Non-sacrificial components | 2 and 10 receptacle configurations | 9' grounded 3-wire cord | Magnetic shielding steel enclosure | 1.000 x 1.000 x 1.000 | The SurgeX Standalone power surge protector and conditioner devices safeguard mission-critical equipment in environments outside of a rack. Their compact design easily fits along, behind, or near equipment, takes up minimal space, and are perfect for AV, surveillance, and monitoring systems.
Power Conditioner | SurgeX | SA-82-AR | Axess Ready FlatPak IP Connected Series Mode Surge Protector and Power Conditioner |  | 949 | [9 empty] | 859971002458 | Y | 6 | https://assetserver.net/_assets/surgex/1000/sa82ar.jpg | https://assetserver.net/_assets/surgex/pdf/sa82ar-spec.pdf | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX | Power | Power Conditioner |  |  | 0 | Series Mode power protection technology | Over Voltage Shutdown with Auto Reset | Remote IP control capabilities SA-82-AR | Non-sacrificial components | Magnetic shielding steel enclosure | 1.000 x 1.000 x 1.000 | When space is at a premium, the SurgeX FlatPak is the perfect wall mount surge protector for TVs, projectors, flat panels, and digital displays. It safeguards them against harmful electrical transients and is easily hidden behind or beside equipment. The FlatPak easily integrates with wall and ceiling mounting systems.
Power Conditioner | SurgeX | SEQ | Sequencing Surge Eliminator and Power Conditioner w/Remote, 2RU |  | 1979 | [9 empty] | 859971002496 | Y | 16 | https://assetserver.net/_assets/surgex/1000/seq.jpg | https://assetserver.net/_assets/surgex/pdf/seq-spec.pdf | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX | Power | Power Conditioner |  |  | 0 | Three sequenced banks of four receptacles; two always-on receptacles | Setup stored in non-volatile memory | LCD screen SEQ | Magnetic shielding steel enclosure | 9’ grounded 3-wire cord | 1.000 x 1.000 x 1.000 | The SEQ is a 120V 20 amp three-bank AC power sequencer incorporating SurgeX® power conditioning and surge protection. The surge protection is rated A-1-1, the highest standard of UL 1449 Adjunct Endurance Testing. The two rack-space steel enclosure is designed to be installed in a 19 inch equipment rack. A total of fourteen 120V receptacles are provided on the rear panel, two of which are always on, with the remaining twelve configured as three sequenced banks of four receptacles, labeled A, B and C. The front panel houses a three-line back-lit LCD display which provides status information in normal use and allows interaction with menu items during programming. Also accessible on the front panel are two screwdriver accessible rotary encoders which are used to step through and select from a menu of items controlling the operation of the unit. There is a red push button which can be used to power up or power down the unit from the front panel. This button can be disabled if not required. A built-in AC voltmeter indicates the line voltage on the third line of the LCD display. The internal voltmeter is a peak reading type which was chosen because most electronic equipment incorporates a power supply that charges mostly during the AC peaks. Monitoring the peak of the AC provides a more useful indication of the actual voltage available to the electronic equipment plugged into the SX2120-SEQ.
Power Conditioner | SurgeX | SEQ-1U | Power Conditioner and Sequencer |  | 1489 | [9 empty] | 859971002502 | Y | 17 |  |  | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX | Power | Power Conditioner |  |  | 0 | [5 empty] | 1.000 x 1.000 x 1.000
Power Conditioner | SurgeX | SX-20NE-RT | Branch Circuit Surge Eliminator and Power Conditioner w/Remote |  | 989 | 2 | [7 empty] | 2 | 858253005675 | Y | 14 | https://assetserver.net/_assets/surgex/1000/sx20nert.jpg | https://assetserver.net/_assets/surgex/pdf/sx20nert-spec.pdf | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX | Power | Power Conditioner |  |  | 0 | Steel enclosure with magnetic shielding | Advanced Series Mode surge protection | Advanced Impedance Tolerant EMI/RFI filtering | SurgeX ICE technology | Remote turn-on | 17.500 x 15.000 x 7.000 | The SurgeX SX20 NE/RT Surge Eliminator & Power Conditioner has remote control capability for use in AC power distribution systems and can be interfaced with a sequential controller such as the SurgeX SEQ. The unit can be controlled with an applied voltage between 5 and 30VDC or a contact closure switch connected to the Phoenix connector terminal block. The connector can also be used to cascade multiple units or provide status to a central controller.
Power Conditioner | SurgeX | SX-N240 | Branch Circuit Surge Eliminator, 20A/230V Hardwired |  | 1249 | [9 empty] | 850011064153 | Y | 20 | https://assetserver.net/_assets/surgex/1000/sxn240.jpg | https://assetserver.net/_assets/surgex/pdf/sxn240-spec.pdf | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX-Mexico | Power | Power Conditioner |  |  | 0 | Magnetic shielding steel enclosure | Advanced Series Mode surge protection | Advanced Impedance Tolerant EMI/RFI filtering | Self-test circuit with visual indicator |  |  | The SurgeX SXN240 Surge Eliminator & Power Conditioner provides surge protection and power conditioning for audio, video, broadcast, and computer equipment. The unit comes in a 12 x 12 x 4" NEMA enclosure and meets the code for use at the service entrance, sub-panels, and in ceiling plenums. The SXN240 is 20A load capable, and has two surge suppression modules, one for each 120V leg. The unit features both common mode and normal mode Impedance Tolerant EMI/RFI filtering for a comprehensive power conditioning solution. The SurgeX Advanced Series Mode technology is completely non-sacrificial. The zero let-through technology provides reliable protection. It stops all surges up to 6,000V (unlimited surge current) without producing harmful side effects such as ground contamination or common-mode disturbances.
Power Conditioner | SurgeX | XG-PCS-IC-1 | Accesorry, Interface Cable. Included with EV products |  | 69 | [10 empty] | Y | 18 |  |  | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX-Mexico | Power | Power Conditioner |  |  | 0 | [5 empty] | 12.250 x 19.000 x 1.750
Power Conditioner | SurgeX | XR-315 | Rack Mount Surge Eliminator and Power Conditioner w/Remote, 1RU |  | 1429 | [9 empty] | 859971002052 | Y | 15 | https://assetserver.net/_assets/surgex/1000/xr315.jpg |  | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX-Mexico | Power | Power Conditioner |  |  | 0 | Non-sacrificial components | Magnetic shielding steel enclosure | Thermal circuit breaker overload protection | Self-test circuit with visual indicator | 9’ grounded 3-wire cord |  | The SurgeX XR315 is a 120V, 15 Amp AC power quality product incorporating SurgeX® Advanced Series Mode power conditioning and surge protection. The surge protection is rated A-1-1, the highest standard of the Federal Commercial Item Description for Endurance. The one rack-space steel enclosure is designed to be installed in a 19 inch equipment rack, or placed on a flat surface. A total of eight 120V receptacles are provided on the rear panel.
Power Strips | SurgeX | SX-DS-154 | MultiPak Surge Suppressor & Power Filter, Multi Array sol, Mount Bracket |  | 439 | [9 empty] | 859971002847 | Y | 5.5 | https://assetserver.net/_assets/surgex/1000/sxds154.jpg | https://assetserver.net/_assets/surgex/pdf/sxds154-spec.pdf | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX | Power | Power Strips |  |  | 0 | Compact Design | Wiring fault protection | 4 and 6 receptacle configurations | 6’ line cord | Mounting brackets | 1.000 x 1.000 x 1.000 | System.Data.DataRow
Power Strips | SurgeX | SX-DS-156 | SurgeX Defender Series SX-DS-156 MultiPak - 120V/15A, 6 Outlet Surge |  | 499 | 9 | 4 | [5 empty] | 1 | 4 | 859971002854 | Y | 7 |  |  | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | US | Power | Power Strips |  |  | 0 | [5 empty] | 15.000 x 11.000 x 6.000
Power Strips | SurgeX | SX-VS-1216 | Single Stage Surge Protection, 10A, 16 Outlet, 0RU Vertical PDU |  | 1099 | 1 |  |  |  | 1 | [5 empty] | Y | 1 |  |  | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX | Power | Power Strips |  |  | 0 | [5 empty] | 1.000 x 1.000 x 1.000
Power Strips | SurgeX | SX-VS-128 | Single Stage Surge Protection, 10A, 8 Outlet, 0RU Vertical PDU |  | 879 | [10 empty] | Y | 1 | https://assetserver.net/_assets/surgex/1000/sxvs128.jpg | https://assetserver.net/_assets/surgex/pdf/sxvs128-spec.pdf | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX | Power | Power Strips |  |  | 0 | Vertical design for convenient power distribution | Remote monitoring and control for intelligent management | Ensures reliability and integrity of electronic systems | Alerts for potential issues and customizable scheduling | Ideal for handling valuable electronic equipment | 1.000 x 1.000 x 1.000 | Transform how you manage power distribution with the SurgeX SX-VS-128 12A Vertical Series+ Smart PDU. This intelligent power distribution unit stands at the forefront of technology, offering a sophisticated solution for seamless power delivery and management. With eight outlets and a robust 12A capacity, the SX-VS-128 ensures your critical electronic systems receive reliable power while providing advanced monitoring and control features.
Power Strips | SurgeX | SX-VS-1624 | Single Stage Surge Protection, 16A, 24 Outlet, 0RU Vertical PDU |  | 1489 | [10 empty] | Y | 1 | https://assetserver.net/_assets/surgex/1000/sxvs1624.jpg | https://assetserver.net/_assets/surgex/pdf/sxvs1624-spec.pdf | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX | Power | Power Strips |  |  | 0 | [5 empty] | 1.000 x 1.000 x 1.000 | SurgeX SX-VS-1624 16A Vertical Series+ Smart PDU. This state-of-the-art Power Distribution Unit redefines the landscape of power distribution, offering a remarkable 18 outlets and advanced intelligent features. With SurgeX's commitment to reliability and innovation, the SX-VS-1624 ensures that your critical electronic systems receive clean, dependable power while providing intelligent monitoring and control capabilities.
UPS | SurgeX | 17202-53R | 2000VA Online Double Conversion UPS, 2U, SINERGY III |  | 3629 | [9 empty] | 850011064016 | Y | 0 |  | https://assetserver.net/_assets/surgex/pdf/1720253r-spec.pdf | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX-Mexico | Power | UPS |  |  | 0 | Product sizes 2000VA | Online system with true sinewave output | Online system with true sinewave output | Configurable as a tower or rack | Line up and match extended battery packs available |  | Sinergy III Series UPS is an online double conversion UPS. Universal rack/tower design with 2000VA with hot-swappable internal batteries. The extended runtime capability allows backup power protection for up to 8 hours.The Sinergy III Series UPS offers a high degree of protection for all your critical systems. Ideal for applications including advanced computer peripherals, telecom electronics, medical instrumentation, advanced control systems and VoIP ¦ PBX systems. The Sinergy III provides peace of mind for businesses operating with mid to high level applications.
UPS | SurgeX | 3000L-01 | SNMP Card Network Adapter for Online Double Conversion Standalone UPS Models |  | 769 | 1 |  |  |  | 1 |  |  |  |  | 850011064276 | Y | 0.4 | https://assetserver.net/_assets/surgex/1000/3000l01.jpg |  | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX | Power | UPS |  |  | 0 | Secure, remote monitoring of power quality and battery health | Secure access from any networked computer | Easy-to-use, informative web interface | Real-time management with email and SNMP traps notifications | Proactive identification of problematic trends with event and data logging | 9.000 x 6.000 x 3.500 | iSite PRO allows for secure, remote, and proactive management of UPS systems in today's highly secured network environments. Robust and secure, iSite PRO provides the most updated security protocols, an easy-to-use user interface complete with dashboard and exportable data and event logs. Remote access allows secure login from anywhere, giving you real time access to proactively monitor and manage system performance.
UPS | SurgeX | 3000L-02 | SNMP Card Network Adapter w/Environment Sensor for Online Double Conversion UPS Models |  | 1049 | 1 | [6 empty] | 1 |  | 850011064283 | Y | 1 |  |  | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX | Power | UPS |  |  | 0 | Measures ambient temperature and relative humidity RH | Reads three volt-free relay input contacts and controls one output relay for event response | iSite PRO’s Environmental dashboard feature provides convenient visualization of measures recorded | Add additional sensor modules to monitor multiple zones from one UPS network adapter | Flexible Any or All logic lets you pick multiple event triggers to drive the output relay control | 1.000 x 1.000 x 1.000 | The iSite PRO +E provides a secure, proactive approach to management of network power with the addition of an Environmental Sensor for monitoring ambient temperature and humidity. Sensor reads three (3) volt-free relay input contacts and controls one (1) output relay for event response. Add additional sensor modules to monitor multiple zones from one UPS network adapter. Flexible "Any or All" logic lets you pick multiple event triggers to drive the output relay control. iSite PRO +E models includes the auxiliary Blue Bus connector, 1 Environment Sensor module and five-meter Blue Bus cable.
UPS | SurgeX | 3000L-03 | SNMP Card Network Adapter w/Modbus for Online Double Conversion Standalone UPS Models |  | 939 | [9 empty] | 850011064290 | Y | 1 | https://assetserver.net/_assets/surgex/1000/3000l03.jpg |  | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX | Power | UPS |  |  | 0 | TCP Onboard support for MODBUS/TCP over Ethernet eliminates need for RS485 to Ethernet gateways | MODBUS RTU is available over RS422 and RS485 half-duplex |  |  |  | 1.000 x 1.000 x 1.000 | The iSite PRO +B provides a secure, proactive approach to management of network power with the addition of MODBUS RTU, MODBUS/TCP protocols for simplified integration of Powervar UPS systems with Building Monitoring and Automation Systems. Ethernet services include DHCP client and WEB server for easy configuration and MODBUS/TCP server for easy migration from MODBUS RTU to MOBUS/TCP. Selectable serial settings allow direct connection to RS422/RS485 networks.
UPS | SurgeX | 58144-79R | 1440VA Line Interactive Uninterruptible Power Supply w/Isolation Trans |  | 3929 | [9 empty] | 0999999529157 | Y | 0 | https://assetserver.net/_assets/surgex/1000/5814479r.jpg |  | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX-Mexico | Power | UPS |  |  | 0 | in Features Line interactive technology | Low impedance isolation transformer | 0.9 output power factor with true sine-wave output | Auto battery test and user hot-swappable battery | Advanced SNMP communication capability |  | Ensure clean, consistent, and reliable power for your sensitive electronic systems with the SurgeX 58144-79R Line Interactive UPS. Designed for high-performance applications, this 2U rack-mountable unit features an advanced low impedance isolation transformer, delivering filtered and conditioned power that protects against electrical noise, harmonics, and disruptive interference. Ideal for mission-critical installations, the UPS-1440-Li-ISO offers true sine-wave output with a robust 0.9 output power factor, ensuring your equipment receives stable and efficient power during outages and fluctuations. With line interactive technology, it provides seamless transitions during power disturbances, while the auto battery test and hot-swappable battery design simplify maintenance and reduce downtime. Stay informed and in control with advanced SNMP communication, a user-friendly graphical interface, and comprehensive diagnostics that support remote monitoring and management.
UPS | SurgeX | SX-1115-RT | SurgeX SX1115RT Surge Eliminator & Power Conditioner 15A at 120 Volts |  | 1079 | 39 | 4 | 1 |  | 20 |  |  |  | 14 | 859971002472 | Y | 15 |  |  | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX | Power | UPS |  |  | 0 | [5 empty] | 21.000 x 15.000 x 7.000
UPS | SurgeX | SX-AEP-159 | ELIMINATOR & POWER CONDITIONER |  | 2859 | [10 empty] | Y | 1 | https://assetserver.net/_assets/surgex/1000/sxaep159.jpg | https://assetserver.net/_assets/surgex/pdf/sxaep159-spec.pdf |  | MX | Power | UPS |  |  | 0 | Advanced Series Mode | In-Rush Current Elimination | IP-Controlled: Individually Switchable Outlets with Power Analytics | Auxiliary Relays and Contact Closure for additional control | Ethernet or RS-232 compatible | 1.000 x 1.000 x 1.000 | The SX-AEP-159 shall be a one-rack-space unit in a magnetic shielding steel enclosure. It shall operate from 120 volts AC and have a 10-foot, grounded, 3-wire #14 detachable line cord. There shall be 8 grounded AC receptacles on the back panel and 1 grounded AC receptacles on the front panel with all total 9 switched. Overall dimensions shall be 1.75” H x 19” W x 12.25” D. Weight shall be 12.5 pounds. The unit shall have remote turn-on capabilities enabled by wired Ethernet, serial, and terminal block connections. Remote turn-on and turn-off shall be activated by contact closure or software. It shall have remote control, sequencing, scheduling, measurement, AutoPing, and adjustable trigger functions, and shall support wired RS-232, Ethernet HTTP, HTTPS, SNMPv1, SNMPv3, NTP, mDNS, 802.1x, LDAP and SSH protocols. The unit shall measure voltage, current (per outlet), power (per outlet), energy (per outlet), and temperature, and shall record events in its internal memory.
UPS | SurgeX | SX-AEP-209 | IP Connected Surge Eliminator and Power Conditioner | 2699 | 2969 | [9 empty] | 8500110648878 | Y | 18 | https://assetserver.net/_assets/surgex/1000/sxaep209.jpg | https://assetserver.net/_assets/surgex/pdf/sxaep209-spec.pdf |  | MX | Power | UPS |  |  | 0 | Advanced Series Mode | IP-Controlled: Convenient remote monitoring and management | Advanced Remote Management | In-Rush Current Elimination | Scalable Control | 1.000 x 1.000 x 1.000 | The Axess ELITE+ sets a new standard in power filtration and management with features like IP outlet control, Advanced Series Mode surge protection, in-rush current elimination, advanced sequencing, and scheduling. It offers seamless integration with third-party control systems and SurgeX CONNECT, enabling remote power cycling, analytics, and management from anywhere. With 9 NEMA or 11 IEC individually switchable outlets, a front service outlet, a swappable locking power cord, and external sensors, it’s designed for versatility and safety. Whether managing a single unit or linking up to 16, the Axess ELITE+ ensures reliable performance through an intuitive web interface, empowering users with unparalleled control and oversight.
UPS | SurgeX | SX-AP-129 | IP Connected Surge Eliminator and Power Conditioner |  | 1429 | [10 empty] | Y | 1 |  |  |  | MX-Mexico | Power | UPS |  |  | 0
UPS | SurgeX | SX-AP-169 | IP Connected Surge Eliminator and Power Conditioner | 1429 | 1429 | [10 empty] | Y | 0 | https://assetserver.net/_assets/surgex/1000/sxap169.jpg |  |  | IN-India | Power | UPS |  |  | 0 | IP Connected Surge Eliminator and Power Conditioner | Advanced Series Mode | Individually switchable receptacles | Swappable power cord with lock | Remote turn on/off, power cycling, and power sequencing |  | Upgrade Your AV and IT Systems with This Cutting-Edge 1U Rack Solution! The SurgeX Axess+ SX-AP-169 advanced 1U rack solution caters to AV and IT professionals' needs. It features non-sacrificial surge protection with Advanced Series Mode, safeguarding your equipment without compromising performance. Integrated power filtration ensures clean, reliable power, enhancing device longevity and efficiency. In addition to superior protection, the SX-AP-169 1U rack solution provides comprehensive IP controllability, inlet current monitoring, and advanced analytics. These features enable integrators to monitor and manage their equipment remotely, diagnose issues proactively, and automate control triggers for seamless operation.
UPS | SurgeX | UPS-1000-OL | Online/Double Conversion UPS, 1000VA, 2RU |  | 2089 | [9 empty] | 859971002960 | Y | 37.5 | https://assetserver.net/_assets/surgex/1000/ups1000ol.jpg | https://assetserver.net/_assets/surgex/pdf/ups1000ol-spec.pdf | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX | Power | UPS |  |  | 0 | Online double conversion technology | True sinewave output | Controllable receptacles | Hot swappable battery | Configurable as tower or 19” rack | 23.500 x 20.000 x 9.500 | SurgeX online double conversion standalone UPS battery backup solutions deliver clean continuous power, via online double conversion technology, to ensure the safe shutdown of equipment in the event of an outage. All incoming power is converted from AC to DC and then back to AC. If the main power is interrupted, the batteries are still holding up the incoming DC supply to the inverter, so the load continues to be supplied with absolutely no interruption whatsoever. The zero transfer time guarantees mission critical equipment remains up and running.
UPS | SurgeX | UPS-2000-OL | Online / Double Conversion UPS, 2000VA, 2RU |  | 3519 | [9 empty] | 859971002977 | Y | 58 | https://assetserver.net/_assets/surgex/1000/ups2000ol.jpg | https://assetserver.net/_assets/surgex/pdf/ups2000ol-spec.pdf | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX | Power | UPS |  |  | 0 | 2000VA Capacity | RS-232 Communication Interface | 5-20P Line Cord | 50/60 Hz Frequency Autosensing | Extended Runtimes of up to 18 Hours | 30.000 x 22.000 x 10.000 | The 2000VA UPS-2000-OL 3U Stand-Alone Online Battery Backup from SURGEX provides power backup to keep equipment running, and properly shut down critical systems, in the event of a power outage. For critical systems that require online battery backup, it delivers network-grade power through double-conversion technology.
UPS | SurgeX | UPS-3000-OL | Online / Double Conversion UPS, 3000VA, 2RU |  | 4399 | [9 empty] | 859971002984 | Y | 1 | https://assetserver.net/_assets/surgex/1000/ups3000ol.jpg | https://assetserver.net/_assets/surgex/pdf/ups3000ol-spec.pdf | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX | Power | UPS |  |  | 0 | 3000VA Capacity | L5-30P Line Cord | Extended Runtimes of up to 18 Hours | Intuitive LED Screen | UL, cUL, and FCC Certified | 1.000 x 1.000 x 1.000 | The 3000VA UPS-3000-OL 3U Stand-Alone Online Battery Backup from SURGEX provides power backup to keep equipment running, and properly shut down critical systems, in the event of a power outage. For critical systems that require online battery backup, it delivers network-grade power through double-conversion technology.
Power Distribution | SurgeX | SX-1120-RT | SURGEX Suppressor/Power Distribution, 20A; IP-Based Management |  | 1299 | 30 | 3 | [5 empty] | 8 | 19 | 859971002489 | Y | 14.5 |  |  | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX | Power | Power Distribution |  |  | 0 | [5 empty] | 22.000 x 14.500 x 5.000
Accessories | SurgeX | 17820-01R | Battery Replacement Kit FOR 2000VA SINERGY III Units for UPS-2000 |  | 619 | [10 empty] | Y | 0 | https://assetserver.net/_assets/surgex/1000/1782001r.jpg |  | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX-Mexico | Power | Accessories |  |  | 0 | Compatible with SurgeX 17820-01R UPS | Includes all necessary components for replacement | Ensures optimal performance and reliability | Easy installation process | Extends the life of your UPS system |  | Battery Replacement Kit for model number ACDEF2000-11.
Accessories | SurgeX | 17888-04R | BATT CAB,E048-12,2KVA, SINERGY III |  | 1539 | [10 empty] | Y | 0.5 |  |  | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX-Mexico | Power | Accessories |  |  | 0
Accessories | SurgeX | 17888-05R | BATT CAB,E072-12,3KVA, SINERGY III |  | 2049 | [10 empty] | Y | 1 |  |  | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX | Power | Accessories |  |  | 0 | [5 empty] | 1.000 x 1.000 x 1.000
Accessories | SurgeX | ESP-BP-3C-126 | BasePak, Single Stage Surge Protection, 3 Foot Power Cord |  | 79 | [10 empty] | Y | 0 | https://assetserver.net/_assets/surgex/1000/espbp3c126.jpg | https://assetserver.net/_assets/surgex/pdf/espbp3c126-spec.pdf | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX-Mexico | Power | Accessories |  |  | 0 | The BasePak’s compact design allows it to fit seamlessly into tight spaces, making it ideal for use in areas where rack space is limited. | Despite its small size, the BasePak can support up to six outlets, accommodating multiple devices and growing power needs. | Suitable for a range of applications, the BasePak can be installed in spaces as varied as under furniture or behind displays, making it adaptable to diverse environments. | With built-in mounting brackets, the BasePak is quick and easy to install, ensuring a secure fit in any location |  |  | The BasePak offers a space-efficient, high-density power solution that’s easy to install and ideal for AV and office environments. Perfect for limited-space applications, it provides reliable power distribution at a low cost.Despite its small footprint, the BasePak PDU packs a powerful punch with its ability to support high-density power needs. With six available outlets, this PDU allows you to power multiple devices simultaneously, ensuring that even as your power needs grow, the BasePak has you covered.
Accessories | SurgeX | EV-12015 IC | AC Diagnostic and Scope Meter Tool, Interface Cable Included |  | 749 | 1 |  |  |  | 1 |  |  |  |  | 859971002892 | Y | 3 | https://assetserver.net/_assets/surgex/1000/ev12015ic.jpg | https://assetserver.net/_assets/surgex/pdf/ev12015ic-spec.pdf | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX | Power | Accessories |  |  | 0 | Identifies preexisting power conditions, provides an instant analysis of data and offers resolutions to resolve issues | Integrated scope meter | Multi-Stage power protection and conditioning technology | Lowers service costs, ensures fault-less installs, and improves customer uptime | Measures neutral to ground voltage, crest factor, power factor, and line frequency metrics | 1.000 x 1.000 x 1.000 | The SurgeX EV-12015-IC enVision PCS gives you the most advanced troubleshooting and power protection technology the insutry has to offer to help service teams monitor live electrical incidents, reduce service calls, troubleshoot downtime, and equipment/parts replacement costs. Featuring real time diagnostic software and an integrated scope meter, enVision gives service teams a pro-active tool to monitor and control problematic environments. It provides advanced recording intelligence, graphical reporting capabilities, and downloadable reports to understand issues and present them clarity to clients. Featuring extensive diagnostic software and integrated scope meter, the enVision PCS provides the most advanced electrical troubleshooting and protection technology in the industry. Technicians will be able to monitor power disturbances, record events, customize equipment voltage settings, and analyze electrical data via multiple display and communication modules. We’ve also included ESP’s patented Multi-Stage surge and noise protection and added advanced capabilities including Cat 6 network protection and ground fault protection to ensure your serviced equipment receives the highest level of professional-grade protection in the market.
Accessories | SurgeX | EV-12020 IC | AC Diagnostic and Scope Meter Tool, Interface Cable Included |  | 829 | [9 empty] | 859971002908 | Y | 3 | https://assetserver.net/_assets/surgex/1000/ev12020ic.jpg | https://assetserver.net/_assets/surgex/pdf/ev12020ic-spec.pdf | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX-Mexico | Power | Accessories |  |  | 0 | Identifies preexisting power conditions, provides an instant analysis of data and offers resolutions to resolve issues | Integrated scope meter | Multi-Stage power protection and conditioningtechnology | Lowers service costs, ensures fault-less installs,and improves customer uptime | Measures neutral to ground voltage, crest factor,power factor, and line frequency metrics |  | The SurgeX EV-12020-IC enVision PCS gives you the most advanced troubleshooting and power protection technology the insutry has to offer to help service teams monitor live electrical incidents, reduce service calls, troubleshoot downtime, and equipment/parts replacement costs. Featuring real time diagnostic software and an integrated scope meter, enVision gives service teams a pro-active tool to monitor and control problematic environments. It provides advanced recording intelligence, graphical reporting capabilities, and downloadable reports to understand issues and present them clarity to clients. Featuring extensive diagnostic software and integrated scope meter, the enVision PCS provides the most advanced electrical troubleshooting and protection technology in the industry. Technicians will be able to monitor power disturbances, record events, customize equipment voltage settings, and analyze electrical data via multiple display and communication modules. We’ve also included ESP’s patented Multi-Stage surge and noise protection and added advanced capabilities including Cat 6 network protection and ground fault protection to ensure your serviced equipment receives the highest level of professional-grade protection in the market.
Accessories | SurgeX | EV20815-IC | AC Diagnostic and Scope Meter Tool, Interface Cable Included |  | 679 | [9 empty] | 859971002915 | Y | 3 | https://assetserver.net/_assets/surgex/1000/ev20815ic.jpg | https://assetserver.net/_assets/surgex/pdf/ev20815ic-spec.pdf | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX-Mexico | Power | Accessories |  |  | 0 | Measures line and neutral to ground voltage, crest factor, power factor, and line frequency metrics | 512 time stamped events with specific date and time | Historical max./min./avg. data up to 138 days | Customizable settings | Identifies pre-existing power issues |  | SurgeX EV-20815 IC is an AC AC Diagnostic and Scope Meter Tool with Interface Cable. enVision provides visibility and control into the power conditions at a installation site by gathering and analyzing data to facilitate root cause discussions with affected end users. It interprets the data into key metrics and trends, and baselines the factors that influences equipment operation, damage conditions, and inefficiencies. Using innovative algorithms and predictive analytics software, the enVision discovers anomalies, patterns, and gives solutions to resolve electrical problems. It attempts to identify issues that can lead to connected equipment failure in advance. This enables technicians to proactively remedy issues rather than reacting to disruption or downtime.
Accessories | SurgeX | EV-20820 IC | AC Diagnostic and Scope Meter Tool, Interface Cable Included |  | 859 | [9 empty] | 859971002922 | Y | 3 | https://assetserver.net/_assets/surgex/1000/ev20820ic.jpg | https://assetserver.net/_assets/surgex/pdf/ev20820ic-spec.pdf | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX-Mexico | Power | Accessories |  |  | 0 | Measures line and neutral to ground voltage, crest factor, power factor, and line frequency metrics | 512 time stamped events with specific date and time | Historical max./min./avg. data up to 138 days | Customizable settings | Identifies pre-existing power issues |  | SurgeX EV-20820 IC is an AC AC Diagnostic and Scope Meter Tool with Interface Cable. enVision provides visibility and control into the power conditions at a installation site by gathering and analyzing data to facilitate root cause discussions with affected end users. It interprets the data into key metrics and trends, and baselines the factors that influences equipment operation, damage conditions, and inefficiencies. Using innovative algorithms and predictive analytics software, the enVision discovers anomalies, patterns, and gives solutions to resolve electrical problems. It attempts to identify issues that can lead to connected equipment failure in advance. This enables technicians to proactively remedy issues rather than reacting to disruption or downtime.
Accessories | SurgeX | EV-20830-630 IC | AC Diagnostic and Scope Meter Tool, Interface Cable Included, NEMA 6-30 |  | 1649 | [9 empty] | 858253005989 | Y | 11 | https://assetserver.net/_assets/surgex/1000/ev20830630ic.jpg |  | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX-Mexico | Power | Accessories |  |  | 0 | Measures line and neutral to ground voltage, crest factor, power factor, and line frequency metrics | 512 time stamped events with specific date and time | Historical max./min./avg. data up to 138 days | Customizable settings | Multi-Stage power protection and conditioning |  | The enVision power conditioning system’s predictive analytics software monitors, identifies, analyzes, and offers solutions to resolve power issues that can cause equipment error codes, malfunction and downtime.
Accessories | SurgeX | EV-20830-L630 IC | AC Diagnostic and Scope Meter Tool, Interface Cable Included, NEMA L6-30 |  | 1649 | [9 empty] | 858253005996 | Y | 11 | https://assetserver.net/_assets/surgex/1000/ev20830l630ic.jpg | https://assetserver.net/_assets/surgex/pdf/ev20830l630ic-spec.pdf | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX-Mexico | Power | Accessories |  |  | 0 | Measures line and neutral to ground voltage, crest factor, power factor, and line frequency metrics | 512 time stamped events with specific date and time | Historical max./min./avg. data up to 138 days | Customizable settings | Identifies pre-existing power issues |  | SurgeX enVision provides visibility and control into the power conditions at a installation site by gathering and analyzing data to facilitate root cause discussions with affected end users. It interprets the data into key metrics and trends, and baselines the factors that influences equipment operation, damage conditions, and inefficiencies. Using innovative algorithms and predictive analytics software, the enVision discovers anomalies, patterns, and gives solutions to resolve electrical problems. It attempts to identify issues that can lead to connected equipment failure in advance. This enables technicians to proactively remedy issues rather than reacting to disruption or downtime.
Accessories | SurgeX | RP-IP | IP Accessory, Provides Remote Network Access to enVision PCS |  | 259 | [9 empty] | 859971002946 | Y | 1 | https://assetserver.net/_assets/surgex/1000/rpip.jpg | https://assetserver.net/_assets/surgex/pdf/rpip-spec.pdf | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX-Mexico | Power | Accessories |  |  | 0 | IP access to ESP analytical software | Remotely monitors power conditions in real-time | Browser based GUI | 1 or 5 Gigabit Network Switch Configuration |  |  | The SurgeX SX-RP-IP has the ability to remotely monitor and diagnose power related disturbances in real-time represents a significant time and cost savings opportunity for service teams, integrators, and organizations of all sizes. The Remote Portal brings IP connectivity to ESP's analytical software to remotely monitor and diagnose power issues. It allows technicians to instantly view the history of power events, monitor live data, download time-stamped reports, diagnose disturbances, and reboot/recycle power via any web or mobile device. Enabling them to instantly analyze and react to problems that can cause downtime and harm mission-critical equipment without having to make a costly service call.
Accessories | SurgeX | SA-82 | FlatPak Series Mode Surge and Power Conditioner, Includes Mounting Brackets |  | 509 | [9 empty] | 859971002618 | Y | 4 |  | https://assetserver.net/_assets/surgex/pdf/sa82_surgex-spec.pdf | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX | Power | Accessories |  |  | 0 | Series Mode power protection technology | Over Voltage Shutdown with Auto Reset | Non-sacrificial components | Magnetic shielding steel enclosure | Detachable 3' grounded 3-wire #18 line cord | 14.000 x 10.000 x 2.000 | When space is at a premium, the SurgeX FlatPak is the perfect wall mount surge protector for TVs, projectors, flat panels, and digital displays. It safeguards them against harmful electrical transients and is easily hidden behind or beside equipment. The FlatPak easily integrates with wall and ceiling mounting systems.
Accessories | SurgeX | SA-B | Mounting Bracket Accessory, 1 Pair |  | 49 | [9 empty] | 858253005705 | Y | 2 | https://assetserver.net/_assets/surgex/1000/sab.jpg |  | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX-Mexico | Power | Accessories |  |  | 0 | Permanently mounts the unit inside a cabinet or any flat surface | [5 empty] | Set of mounting brackets for the Surgex SA.
Accessories | SurgeX | SX-DC-8-12-120 | AC/DC MultiStage Surge Suppression, 4 IEC 120V/15A(AC), (4) 12V DC Ports, (2) 2.5 USB Ports |  | 1049 | [9 empty] | 850011064221 | Y | 8 | https://assetserver.net/_assets/surgex/1000/sxdc812120.jpg | https://assetserver.net/_assets/surgex/pdf/sxdc812120-spec.pdf | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | US | Power | Accessories |  |  | 0 | Universal 120V-240V AC input with IEC connectors | 4 controlled and monitored AC receptacles | 3 DC banks, 2 controllable | Measures electrical parameters, including Voltage, Current, Power, Frequency, Power Factor, Crest Factor | Time stamped power quality events | 15.000 x 11.000 x 6.000 | The SurgeX SQUID is the only product that provides AC/DC power protection, boxed network control, and analytical software in one chassis. You’ll no longer have to install a product for AC, another for DC, and yet another to monitor and control the power environment. It is the perfect solution for collaborative flex environments, huddle spaces, and other tight-spaced AV settings.
Accessories | SurgeX | SX-DC-8-1224-120 | AC/DC MultiStage Surge Suppression, 4 IEC 120V/15A(AC), (2) 12V / (2) 24V DC Ports, (2) 2.5USB Ports |  | 1049 | [9 empty] | 850011064238 | Y | 8 | https://assetserver.net/_assets/surgex/1000/sxdc81224120.jpg | https://assetserver.net/_assets/surgex/pdf/sxdc81224120-spec.pdf | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | US | Power | Accessories |  |  | 0 | Universal 120V-240V AC input with IEC connectors | 4 controlled and monitored AC receptacles | 3 DC banks, 2 controllable | Measures electrical parameters including voltage, current, power, frequency, power factor, and crest factor | Time-stamped power quality events | 15.000 x 11.000 x 6.000 | The SurgeX SQUID is the only product that provides AC/DC power protection, boxed network control, and analytical software in one chassis. You’ll no longer have to install a product for AC, another for DC, and yet another to monitor and control the power environment. It is the perfect solution for collaborative flex environments, huddle spaces, and other tight-spaced AV settings.
Accessories | SurgeX | SX-DC-8-24-120 | AC/DC MultiStage Surge Suppression, 4 IEC 120V/15A(AC), (4) 24V DC Ports, (2) 2.5 USB Ports |  | 1049 | [9 empty] | 850011064245 | Y | 8 | https://assetserver.net/_assets/surgex/1000/sxdc824120.jpg | https://assetserver.net/_assets/surgex/pdf/sxdc824120-spec.pdf | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX | Power | Accessories |  |  | 0 | Universal 120V-240V AC input with IEC connectors | 4 controlled and monitored AC receptacles | 3 DC banks, 2 controllable | Measures electrical parameters including voltage, current, power, frequency, power factor, and crest factor | Time-stamped power quality events | 1.000 x 1.000 x 1.000 | The Squid Power Management System from SURGEX is an AC and DC power distribution unit with power conditioning, control, and monitoring. Thanks to its small form factor, you can mount it to a wall, a table, or against the face of an equipment rack. It features an internal web server that provides configuration, output control, monitoring, and the retrieval of data logs. Multiple security and communication interface options are also supported. This PDU has one IEC320 C14 AC inlet, four IEC320 C13 AC outlets, two 5V USB-A ports, an RJ45 network port, a micro-USB port, and two recessed push buttons for hardware and software reset. There are also five DC terminal blocks with a 5V output, plus two output banks, each with two ports. DC Output 1 delivers 2.5A at 24V, while DC Output 2 delivers 5A at 12V. Also featured is under-voltage auto shutdown that is adjustable from 0 to 300V, overvoltage auto shutdown that is adjustable from 125 to 300V, and overcurrent auto shutdown that is adjustable from 0.1 to 20A. All three of these may also be disabled. The Squid's software offers a single solution for management, mitigation and control of a system's power. Its competencies include sequencing, scheduling, auto-ping, IP control and monitoring plus reduced service calls through proactive management. Its 360° of power protection helps ensure equipment remains up and running without disruption.
Accessories | SurgeX | SX-DS-151 | Compact Solution Surge Suppressor and Power Filter |  | 89 | [10 empty] | Y | 0.5 | https://assetserver.net/_assets/surgex/1000/sxds151.jpg |  | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX-Mexico | Power | Accessories |  |  | 0 | [6 empty] | Never go unprotected at any level. Even in smaller, cost-conscious applications, power protection is a critical element of an AV system’s foundation. With the new SurgeX Defender Series line of products, power protection doesn’t have to be sacrificed regardless of the budget or size of the system. Developed specifically for everyday applications, the Defender Series provides cost-effective comprehensive power protection and conditioning to increase uptime and ensure equipment functions properly.
Accessories | SurgeX | SX-DS-158-GFI | Rackmount Defender Series, 15A, GFI compatible |  | 329 | 13 |  |  |  | 5 |  |  | 8 |  |  | Y | 6.5 |  |  | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | US | Power | Accessories |  |  | 0 | [5 empty] | 21.500 x 15.000 x 7.000
Accessories | SurgeX | SX-DS-208-GFI | Rackmount Defender Series Multi Stage Surge Suppression 120V/20A |  | 329 | [10 empty] | Y | 6.5 |  |  | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | US | Power | Accessories |  |  | 0 | 8-outlet, 120V power conditioner | Non-sacrificial, multi-stage wiring fault protection safeguards against destructive surges, spikes, and electrical transients | Advanced filtering tackles normal and common-mode electrical noise interference | 1U rack-sized unit with magnetic-shielded steel enclosure | Includes a 9-foot line cord | 21.500 x 15.000 x 7.000 | The SX-DS-208 Defender Series 120V Surge Suppressor from SURGEX provides users with two NEMA 5-20R and six NEMA 5-15R outlets, supports 120V at 50/60 Hz, has a total maximum current of 20A, and a NEMA 5-20P input plug. It also fits into 19" (1 RU) of rack space and may be secured using four included screws. It has a voltage protection rating of up to 330V and an overvoltage auto shutdown of 180V ±10V, which automatically restores at 170V ±10V. Explicitly developed for everyday applications, the Defender Series provides comprehensive power protection and conditions to help ensure increased uptime and equipment functionality.
Accessories | SurgeX | SX-DSP-129 | IP Connected Multi-Stage Surge Suppression, Detachable Power Cord |  | 929 | [9 empty] | 850011064504 | Y | 5 | https://assetserver.net/_assets/surgex/1000/sxdsp129.jpg | https://assetserver.net/_assets/surgex/pdf/sxdsp129-spec.pdf |  | MX | Power | Accessories |  |  | 0 | IP-controlled | Multi-Stage Surge Protection | Swappable power cord with lock | Swappable power cord with lock | Remote turn on/off, power cycling, and power sequencing | 24.000 x 14.500 x 7.000 | Elevate your AV and IT equipment racks with the SurgeX Defender Series+, designed to exceed your expectations and redefine what's possible in control, protection, and automation. Advanced power filtration technology delivers pristine power to equipment and maintains peak performance for every project.
Accessories | SurgeX | SX-DSP-169 | IP Connected Multi-Stage Surge Suppression, Detachable Power Cord |  | 929 | [10 empty] | Y | 0 | https://assetserver.net/_assets/surgex/1000/sxdsp169.jpg | https://assetserver.net/_assets/surgex/pdf/sxdsp169-spec.pdf |  | MX-Mexico | Power | Accessories |  |  | 0 | IP-controlled | Multi-Stage Surge Protection | Swappable power cord with lock | 8 individually switchable outlets and 1 always ON outlet | Remote turn on/off, power cycling, and power sequencing |  | The Defender Series+ line, with patented Multi-Stage surge suppression, protects AV equipment from harmful surges and virtually eliminates electrical noise that causes downtime. Integrated with SurgeX CONNECT, a cloud-based platform, it offers real-time power monitoring and analytics for proactive management.
Accessories | SurgeX | UPS-BAT-1000-LI-2 | Online / Double Conversion UPS, 1000VA, 2RU |  | 279 | [9 empty] | 858253005002 | Y | 10 | https://assetserver.net/_assets/surgex/1000/upsbat1000li2.jpg | https://assetserver.net/_assets/surgex/pdf/upsbat1000li2-spec.pdf | https://assetserver.net/_assets/_prop65/ca prop 65 long form label.jpg | MX-Mexico | Power | Accessories |  |  | 0 | Line interactive technology | Analytical software | Wiring fault detection | 9’ grounded line cord |  |  | Power outages and electrical transients cause equipment disruption, malfunction, and downtime. The SurgeX UPS-1000-Li-2 battery backup surge protector truly solves both issues by combining an uninterruptible power supply (UPS) to safeguard equipment from outages with Advanced Series Mode® surge protection technology to eradicate surges, spikes, and electrical noise.